|  | Industry/Sector: | Overnight Accommodation | Department/Job Position: | Engineering/Building Operator |
| --- | --- | --- | --- | --- |
|  | Common Tasks and Duties: | - Performing routine maintenance checks - Repairing mechanical/electrical systems - Managing HVAC systems - Maintaining pool and spa systems - Inspecting rooftop equipment - Handling tools and heavy equipment - Responding to facility emergencies - Working in confined spaces (e.g. boiler room, tanks) - Working alone on night shift | Reasonably Foreseeable or Common Hazards: | - Musculoskeletal injuries (MSI) and ergonomics - Working alone or in isolation - Slips, trips and falls - Struck by/against incidents - Moving and rotating parts (e.g. tools and equipment) - Chemicals and high-pressurized gases and liquids - Electrical hazards - Noise and vibration hazards - Working from heights - Confined spaces (e.g. asphyxiation or entrapment) - Working with mobile equipment |

Employers are to review this HIRA document and customize to their location, job tasks and site-specific hazards. To edit a row, simply use Microsoft word to edit (e.g. edit text, change risk ratings, delete a row, or add a new row). When determining risk follow the Guidance Document - Assessing Risk for HIRA Tools. When identifying controls, be sure to use the Hierarchy of Controls to control risk through elimination, substitution, engineering controls, administrative controls and Personal Protective Equipment (PPE). Once complete, this should be reviewed by the JHSC or a Worker H&S Rep, and reviewed annually thereafter.

|  | Full Name | Job Position | Signature | Date |
| --- | --- | --- | --- | --- |
| Completed By: |  |  |  |  |
| Reviewed By: |  |  |  |  |

| Task | Hazards/Risks | Inherent (Before Controls) Risk |  |  | General Control Measures | Residual (After Controls) Risk |  |  | Additional Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Probability | Severity | Rating |  | Probability | Severity | Rating |  |
| Performing routine maintenance checks | - MSI risks e.g. repetitive motion, overexertion, reaching, awkward postures (see more below) - Slips, trips and falls - Struck by/against incidents - Faulty or defective tools or equipment - Electrical hazards - Working from heights - Working alone or in isolation | 3 3 Likely | 2 2 Moderate | 6 6 Med. Risk | - Only qualified and trained personnel to perform work - Follow safe work procedures and wear required PPE - Do not defeat or bypass safety guards or devices - Follow manufacturer’s instruction for safe use, pre-use inspection and maintenance - Inspect the area, remove objects that pose tripping hazards - Clean up spills immediately, and use “Wet Floor” signage - Wear slip-resistant footwear, safety footwear when required - Provide workers with information on hazards e.g. electricity, heights, mobile equipment, chemicals, moving parts etc. | 2 2 Possible | 2 2 Moderate | 4 4 Med. Risk | Other tasks within this HIRA identify more specific risks and associated controls for work with increased risk e.g. electricity, working at heights, mobile equipment, chemicals, moving parts etc. |
| Operating and maintaining electrical systems | - Electric shock from exposed or faulty wiring - Burns from arc flash or hot components - Fire due to faults or overloads - Exposure to energized equipment during maintenance - Eye injuries from flash or sparks - Faulty tools or equipment - Building-related hazardous materials (e.g. asbestos, lead) | 3 3 Likely | 4 4 Critical | 12 12 High Risk | - Only qualified electricians to perform electrical work - Provide workers with instruction and training - De-energize equipment before performing maintenance - Lockout/tagout (LOTO) procedures with individual locks/tags - Follow safe work procedures and wear required PPE - Use insulated tools rated for electrical work - Maintain clear access to panels and electrical rooms - Ensure proper labeling and SLDs of circuits and breakers - Conduct regular inspections and maintenance of electrical systems and equipment - Report and repair damaged cords, outlets, or equipment | 2 2 Possible | 3 3 Serious | 6 6 Med. Risk | If contracting work with increased risk, ensure contractor safety is managed through controls such as pre-qualification, confirmation of valid insurance (including WSBC clearance letter), hazard assessments, verification of qualifications and training, safe work procedures and equipment, appropriate PPE |

| Task | Hazards/Risks | Inherent (Before Controls) Risk |  |  | General Control Measures | Residual (After Controls) Risk |  |  | Additional Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Probability | Severity | Rating |  | Probability | Severity | Rating |  |
| Operating and maintaining HVAC systems (e.g. cleaning coils, fans, and ductwork, air filter replacement etc.) | - Exposure to hot surfaces or steam burns - Cuts or abrasions from sharp edges or tools (hand injuries) - Electrical hazards - Working from heights - Using hazardous products - Building-related hazardous materials (e.g. asbestos, lead) - Biological agents (e.g. mould or legionnaires' disease exposure) - MSI risks e.g. repetitive motion, overexertion, reaching, awkward postures (see more below) | 3 3 Likely | 4 4 Critical | 12 12 High Risk | - Only qualified and trained personnel to work with equipment - Provide workers with instruction and training on HVAC systems and related hazards - Follow safe work procedures and wear required PPE - Follow manufacturer’s instruction for safe use, pre-use inspection and maintenance - De-energize and LOTO equipment before servicing - Conduct regular inspections and maintenance of HVAC systems and equipment - Ensure adequate and good ventilation in working areas - Use safe lifting techniques and ergonomic tools - Keep work area clean and free of tripping hazards | 2 2 Possible | 3 3 Serious | 6 6 Med. Risk | Should a hazardous material (e.g. building-related or biological agent) be identified as a risk, ensure an Exposure Control Plan (ECP), along with any applicable training and PPE, is in place as required by WorkSafeBC |
| Using chemicals and hazardous products (e.g. maintaining pool systems, fuels, chillers, lubricants etc.) | - Exposure to chemical hazards e.g. chemical burns, splashes to eyes, respiratory or skin irritation - Unlabelled or illegible containers - Spills and environment concerns | 2 2 Possible | 3 3 Serious | 6 6 Med. Risk | - WHMIS training for staff using chemical products - Supplier and workplace labels in place and legible - Safe handling practices and PPE as required by label/SDS - Employer to assess products for hazards before procuring - Safety Data Sheets (SDS) referenced and available - Ensure adequate and good ventilation in working areas - Regular inspections for WHMIS compliance - Ensure proper storage of chemicals and hazardous products - Spill response procedures with SDS - First aid on site with emergency eyewash | 1 1 Unlikely | 2 2 Moderate | 2 2 Low Risk | If contracting work with increased risk, ensure contractor safety is managed through controls such as pre-qualification, confirmation of valid insurance (including WSBC clearance letter), hazard assessments, verification of qualifications and training, safe work procedures and equipment, appropriate PPE |
| Working from heights (e.g. ladders inspecting rooftop equipment, gutter and drain repair, replacing lights and signage etc.) | - Slips or trips on uneven or slippery surfaces - Falling tools or materials posing risk to others below - Overreaching or loss of balance while working at heights - Contact with overhead hazards and electrical equipment - Severe weather - Faulty or defective equipment | 3 3 Likely | 4 4 Critical | 12 12 High Risk | - Utilize the fall protection hierarchy (e.g. elimination, guardrails, fall/travel restraint and fall arrest) to eliminate or guard against fall hazards as the preferred methods - Only qualified and trained personnel to work from heights - Follow safe work procedures and wear required PPE - Fall protection plan including engineered anchor points, full-body harness, lanyards etc. - Ensure rescue plans in place as required by WorkSafeBC - Assess the area for overhead hazards (e.g. fans or electrical lines or equipment), maintain limits of approach - Conduct pre-use inspections of ladders and platform lifts - Maintain three points of contact when climbing - Set up work areas to prevent tools/materials from falling and use adequate work delineation (e.g. barriers, cones etc.) - Avoid working at heights in poor weather conditions - Use spotters or barricades to protect others below | 2 2 Possible | 3 3 Serious | 6 6 Med. Risk | If contracting work with increased risk, ensure contractor safety is managed through controls such as pre-qualification, confirmation of valid insurance (including WSBC clearance letter), hazard assessments, verification of qualifications and training, safe work procedures and equipment, appropriate PPE |
| Working in confined spaces (e.g. cooling towers, boiler tanks) | - Asphyxiation (e.g. oxygen deficiency or toxic gas exposure) - Limited entry/exit complicating emergency response - Entrapment or moving parts - Building-related hazardous materials or biological agents - MSI risks e.g. repetitive motion, overexertion, reaching, awkward postures (see more below) | 2 2 Possible | 4 4 Critical | 8 8 Med. Risk | - Only qualified and trained personnel to enter confined spaces - Use a confined space permit and entry checklist - Atmosphere tested for oxygen and toxic gasses - Wear required PPE, respirators require fit testing - Confined space entry procedures oxygen and gas detection - Ventilate the space before and during entry - Isolate energy sources (LOTO) before entry - Standby person with communication device and rescue plan | 2 2 Possible | 3 3 Serious | 6 6 Med. Risk | If contracting work with increased risk, ensure contractor safety is managed through controls such as pre-qualification, confirmation of valid insurance (including WSBC clearance letter), hazard assessments, verification of qualifications and training, safe work procedures and equipment, appropriate PPE |

| Task | Hazards/Risks | Inherent (Before Controls) Risk |  |  | General Control Measures | Residual (After Controls) Risk |  |  | Additional Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Probability | Severity | Rating |  | Probability | Severity | Rating |  |
| Handling tools and heavy equipment (e.g. hand and power tools, carpentry, mobile equipment etc.) | - Cuts, punctures, or abrasions from hand or power tools - Rotating and moving parts - Faulty or defective equipment - Noise exposure from loud equipment - Electric shock from improperly maintained tools - Falls from working at heights - MSI risks e.g. repetitive motion, overexertion, reaching, awkward postures (see more below) | 3 3 Likely | 3 3 Serious | 9 9 High Risk | - Only qualified and trained personnel to work with equipment - Follow safe work procedures and wear required PPE - Follow manufacturer’s instruction for safe use, pre-use inspection and maintenance - Use proper lifting techniques or mechanical aids - Wear PPE (e.g., gloves, safety glasses, hearing protection) - Store tools securely to prevent slips, trips, or drops - Keep cords and hoses organized and out of walkways - Set up work areas to prevent tools/materials from falling and use adequate work delineation (e.g. barriers, cones etc.) - Assess the area for overhead hazards (e.g. fans or electrical lines or equipment), maintain limits of approach - Avoid using mobile equipment in poor weather conditions - Use spotters or barricades to protect others below | 2 2 Possible | 3 3 Serious | 6 6 Med. Risk | If contracting work with increased risk, ensure contractor safety is managed through controls such as pre-qualification, confirmation of valid insurance (including WSBC clearance letter), hazard assessments, verification of qualifications and training, safe work procedures and equipment, appropriate PPE |
| Responding to facility emergencies (e.g. severe weather, power outages, leaks etc.) | - Power loss affecting lighting, equipment, and safety systems - Increased risk of injuries due to rushing or working under stress - Disruption to business operations - Failure of critical systems (e.g. elevators, HVAC, alarms) | 3 3 Likely | 3 3 Serious | 9 9 High Risk | - General control measures listed throughout HIRA - Emergency plans in place with procedures for responding to reasonably foreseeable emergency events - Escalate calls to service techs and emergency services - Provisions for debriefing and psychological safety and mental health supports for workers involved in or witnessed critical/traumatic incidents | 2 2 Possible | 2 2 Moderate | 4 4 Med. Risk | Business continuity planning for emergency service techs and equipment is recommended |
| Musculoskeletal injuries (MSI) and ergonomics | - Repetitive motions such as using hand tools, or turning valves - Awkward postures when working in tight spaces, reaching, or accessing equipment - Overexertion when lifting or maneuvering heavy tools, parts, or mechanical components - Pushing or pulling maintenance equipment, carts, or building systems (e.g. HVAC units) - Improper lifting techniques when handling supplies and materials | 3 3 Likely | 3 3 Serious | 9 9 High Risk | - Training on MSI prevention, ergonomics and safe lifting - Reminders during pre-shift briefings on MSI prevention - Warm-up, stretch and take breaks - Use proper lifting techniques or mechanical aids - When possible, use ergonomic tools - Use carts, dollies or lifting aids for transporting materials - Push carts instead of pulling to reduce risk of strain - Keep carts maintained and organized to avoid overloading - Rotate tasks throughout the shift to reduce repetitive motions - Report and replace worn or broken equipment - Store heavier items at waist height to avoid unnecessary lifting | 2 2 Possible | 3 3 Serious | 6 6 Med. Risk | See resources for employers from WorkSafeBC and go2HR on MSI prevention |
| Entering guest rooms | - Unexpected occupants or pets - Aggressive guests, violence and harassment - Slips, trips and falls - Struck by/against incidents | 2 2 Possible | 3 3 Serious | 6 6 Med. Risk | - Written procedure for guest room entry - Pet policy with guest education and signage - Work in pairs or groups, rather than working alone - Work with guest room door open - Ensure adequate lighting for work tasks - Violence/harassment policies, risk assessments and training - Maintain situational awareness, avoid distractions - Devices for immediately summoning assistance e.g. radios, apps, panic button, whistles etc. | 1 1 Unlikely | 3 3 Serious | 3 3 Low Risk | Generally, engineering and building operators would enter guest rooms when vacant and unoccupied |
| Working alone or in isolation | - Personal safety risks - Delayed response to medical and H&S incidents or emergencies | 2 2 Possible | 3 3 Serious | 6 6 Med. Risk | - Working Alone Policy with established check-in procedures - Ensure adequate lighting for work tasks - Violence/harassment policies, risk assessments and training - Maintain situational awareness, avoid distractions - Devices for immediately summoning assistance e.g. radios, apps, panic button, whistles etc. | 1 1 Unlikely | 3 3 Serious | 3 3 Low Risk | Avoid work with increased risk when working alone. When possible, have staff work in pairs or groups, particularly in locations or at times with increased risk |